## water_level_loggers
date | time | serial_number | model | project | location | observation | notes
|  | 21821230 | HOBO U20L-04 |  |  | extra | bought new from Onset
|  | 21821227 | HOBO U20L-04 |  |  | extra | bought new from Onset
|  | 21821234 | HOBO U20L-04 |  |  | extra | bought new from Onset
|  | 21821232 | HOBO U20L-04 |  |  | extra | bought new from Onset
|  | 21821231 | HOBO U20L-04 |  |  | extra | bought new from Onset
|  | 21821228 | HOBO U20L-04 |  |  | extra | bought new from Onset
|  | 21821229 | HOBO U20L-04 |  |  | extra | bought new from Onset
2023-09-13 |  | 21821230 | HOBO U20L-04 | BEGI | SLOC | renamed | renamed as SLO_C
2023-09-13 |  | 21821227 | HOBO U20L-04 | BEGI | SLOW | renamed | renamed as SLO_W
2023-09-13 |  | 21821234 | HOBO U20L-04 | BEGI | VDOW | renamed | renamed as VDO_1
2023-09-13 |  | 21821232 | HOBO U20L-04 | BEGI | VDOS | renamed | renamed as VDO_2
2023-09-13 |  | 21821231 | HOBO U20L-04 | BEGI | BEGI_AIR | renamed | renamed as BEGI_AIR
2023-09-13 |  | 23G103231 | EXO1 | BEGI | SLOW | deployed | Sonde deployed for BEGI: associated sensors= 23G102566, 23E102693, 23F100501, 23C101705
2023-09-13 |  | 23F105009 | EXO1 | BEGI | SLOC | deployed | Sonde deployed for BEGI: associated sensors= 23G102568, 23E102691, 23F100502, 23C101760
2023-09-13 |  | 23G103230 | EXO1 | BEGI | VDOS | deployed | Sonde deployed for BEGI: associated sensors= 23G102567, 23E102692, 23F100502, 23C101760
2023-09-13 |  | 23G103229 | EXO1 | BEGI | VDOW | deployed | Sonde deployed for BEGI: associated sensors= 23G102560, 23F100503, 23E102690, 23C101759
2023-09-27 |  | 1092897 | Solinist Levelogger 5 LTC - Conductivity |  |  | extra | bought new from Solinist
2023-09-28 |  | 1093224 | Solinist Levelogger 5 LTC - Conductivity |  |  | extra | bought new from Solinist
2023-09-29 |  | 1093060 | Solinist Levelogger 5 LTC - Conductivity |  |  | extra | bought new from Solinist
2023-10-03 |  | 21839228 | HOBO U20L-04 |  |  | extra | bought new from Onset
2023-10-03 |  | 21839226 | HOBO U20L-04 |  |  | extra | bought new from Onset
2023-10-03 |  | 21839227 | HOBO U20L-04 |  |  | extra | bought new from Onset
2023-09-22 | 15:15 | 23G103229 | EXO1 | BEGI | VDOW | removed | 15:15
2023-09-22 | 16:00 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 16:00
2023-09-22 | 16:00 | 23G103230 | EXO1 | BEGI | VDOS | removed | 16:00
2023-09-22 | 16:45 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 16:45
2023-09-22 | 16:45 | 23F105009 | EXO1 | BEGI | SLOC | removed | 16:45
2023-09-22 | 17:00 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 17:00
2023-09-22 | 17:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 17:15
2023-09-22 | 18:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 18:00
2023-09-29 |  | 23G103229 | EXO1 | BEGI | VDOW | removed
2023-09-29 |  | 23G103229 | EXO1 | BEGI | VDOW | deployed
2023-09-29 |  | 23G103230 | EXO1 | BEGI | VDOS | removed
2023-09-29 |  | 23G103230 | EXO1 | BEGI | VDOS | deployed
2023-09-29 |  | 23F105009 | EXO1 | BEGI | SLOC | removed
2023-09-29 |  | 23F105009 | EXO1 | BEGI | SLOC | deployed
2023-09-29 |  | 23G103231 | EXO1 | BEGI | SLOW | removed
2023-09-29 |  | 23G103231 | EXO1 | BEGI | SLOW | deployed
2023-10-06 |  | 21839228 | HOBO U20L-04 | USF | USF20 | deployed | Used to be named USF06
2023-10-06 |  | 21839227 | HOBO U20L-04 | USF | USF7 | deployed
2023-10-06 |  | 21821229 | HOBO U20L-04 | USF | USF_AIR1 | deployed
2023-10-06 | 8:45 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:45
2023-10-06 | 9:15 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:15
2023-10-06 | 9:15 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:15
2023-10-06 | 9:45 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 9:45
2023-10-06 | 10:00 | 23F105009 | EXO1 | BEGI | SLOC | removed | 10:00
2023-10-06 | 10:30 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 10:30
2023-10-06 | 10:45 | 23G103231 | EXO1 | BEGI | SLOW | removed | 10:45
2023-10-06 | 11:15 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 11:15
2023-10-13 | 8:45 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:45
2023-10-13 | 9:15 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:15
2023-10-13 | 9:15 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:15
2023-10-13 | 10:00 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 10:00
2023-10-13 | 10:15 | 23F105009 | EXO1 | BEGI | SLOC | removed | 10:15
2023-10-13 | 11:00 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 11:00
2023-10-13 | 11:00 | 23G103231 | EXO1 | BEGI | SLOW | removed | 11:00
2023-10-13 | 11:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 11:30
2023-10-20 | 8:30 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:30
2023-10-20 | 9:30 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:30
2023-10-20 | 9:30 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:30
2023-10-20 | 10:00 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 10:00
2023-10-20 | 10:15 | 23F105009 | EXO1 | BEGI | SLOC | removed | 10:15
2023-10-20 | 10:45 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 10:45
2023-10-20 | 10:45 | 23G103231 | EXO1 | BEGI | SLOW | removed | 10:45
2023-10-20 | 11:15 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 11:15
2023-10-27 | 8:30 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:30
2023-10-27 | 9:30 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:30
2023-10-27 | 9:30 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:30
2023-10-27 | 10:30 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 10:30
2023-10-27 | 10:30 | 23F105009 | EXO1 | BEGI | SLOC | removed | 10:30
2023-10-27 | 11:15 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 11:15
2023-10-27 | 11:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 11:15
2023-10-27 | 12:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 12:00
2023-10-28 |  | 21839226 | HOBO U20L-04 | USF | USF13 | deployed
2023-10-28 |  | 21821228 | HOBO U20L-04 | USF | USF14 | deployed
2023-10-28 |  | 21793950 | HOBO U20L-04 | USF | USF_AIR2 | deployed
2023-11-03 | 8:45 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:45
2023-11-03 | 9:30 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:30
2023-11-03 | 9:30 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:30
2023-11-03 | 10:30 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 10:30
2023-11-03 | 10:30 | 23F105009 | EXO1 | BEGI | SLOC | removed | 10:30
2023-11-03 | 11:15 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 11:15
2023-11-03 | 11:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 11:15
2023-11-03 | 12:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 12:00
2023-11-03 | 14:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 14:15
2023-11-03 | 15:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 15:00
2023-11-10 | 8:45 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:45
2023-11-10 | 9:15 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:15
2023-11-10 | 9:15 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:15
2023-11-10 | 9:45 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 9:45
2023-11-10 | 9:45 | 23F105009 | EXO1 | BEGI | SLOC | removed | 9:45
2023-11-10 | 10:30 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 10:30
2023-11-10 | 10:30 | 23G103231 | EXO1 | BEGI | SLOW | removed | 10:30
2023-11-10 | 10:45 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 10:45
2023-11-17 | 8:30 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:30
2023-11-17 | 9:15 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:15
2023-11-17 | 9:15 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:15
2023-11-17 | 10:00 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 10:00
2023-11-17 | 10:30 | 23F105009 | EXO1 | BEGI | SLOC | removed | 10:30
2023-11-17 | 11:00 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 11:00
2023-11-17 | 11:00 | 23G103231 | EXO1 | BEGI | SLOW | removed | 11:00
2023-11-17 | 11:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 11:30
2023-11-22 | 13:15 | 23G103229 | EXO1 | BEGI | VDOW | removed | 13:15
2023-11-22 | 13:45 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 13:45
2023-11-22 | 13:45 | 23G103230 | EXO1 | BEGI | VDOS | removed | 13:45
2023-11-22 | 14:15 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 14:15
2023-11-22 | 14:30 | 23F105009 | EXO1 | BEGI | SLOC | removed | 14:30
2023-11-22 | 15:00 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 15:00
2023-11-22 | 15:00 | 23G103231 | EXO1 | BEGI | SLOW | removed | 15:00
2023-11-22 | 15:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 15:30
2023-12-01 | 8:30 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:30
2023-12-01 | 9:00 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:00
2023-12-01 | 9:00 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:00
2023-12-01 | 9:30 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 9:30
2023-12-01 | 9:45 | 23F105009 | EXO1 | BEGI | SLOC | removed | 9:45
2023-12-01 | 10:15 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 10:15
2023-12-01 | 10:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 10:15
2023-12-01 | 10:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 10:30
2023-12-08 | 8:30 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:30
2023-12-08 | 9:15 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:15
2023-12-08 | 9:00 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:00
2023-12-08 | 9:45 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 9:45
2023-12-08 | 9:45 | 23F105009 | EXO1 | BEGI | SLOC | removed | 9:45
2023-12-08 | 10:15 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 10:15
2023-12-08 | 10:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 10:15
2023-12-08 | 10:45 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 10:45
2023-12-21 | 13:30 | 23G103229 | EXO1 | BEGI | VDOW | removed | 13:30
2023-12-21 | 14:00 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 14:00
2023-12-21 | 14:00 | 23G103230 | EXO1 | BEGI | VDOS | removed | 14:00
2023-12-21 | 14:30 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 14:30
2023-12-21 | 14:30 | 23F105009 | EXO1 | BEGI | SLOC | removed | 14:30
2023-12-21 | 15:00 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 15:00
2023-12-21 | 15:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 15:15
2023-12-21 | 16:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 16:00
2024-01-05 | 14:15 | 23G103229 | EXO1 | BEGI | VDOW | removed | 14:15
2024-01-05 | 15:00 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 15:00
2024-01-05 | 15:00 | 23G103230 | EXO1 | BEGI | VDOS | removed | 15:00
2024-01-05 | 15:30 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 15:30
2024-01-05 | 16:00 | 23F105009 | EXO1 | BEGI | SLOC | removed | 16:00
2024-01-05 | 16:45 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 16:45
2024-01-05 | 16:45 | 23G103231 | EXO1 | BEGI | SLOW | removed | 16:45
2024-01-05 | 17:15 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 17:15
2024-01-19 | 14:45 | 23G103229 | EXO1 | BEGI | VDOW | removed | 14:45
2024-01-19 | 15:30 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 15:30
2024-01-19 | 15:15 | 23G103230 | EXO1 | BEGI | VDOS | removed | 15:15
2024-01-19 | 16:00 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 16:00
2024-01-19 | 16:00 | 23F105009 | EXO1 | BEGI | SLOC | removed | 16:00
2024-01-19 | 16:30 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 16:30
2024-01-19 | 16:30 | 23G103231 | EXO1 | BEGI | SLOW | removed | 16:30
2024-01-19 | 17:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 17:00
2024-01-25 | 11:30 | 23G103229 | EXO1 | BEGI | VDOW | removed | 11:30
2024-01-25 | 12:30 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 12:30
2024-01-25 | 12:15 | 23G103230 | EXO1 | BEGI | VDOS | removed | 12:15
2024-01-25 | 12:45 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 12:45
2024-01-25 | 13:00 | 23F105009 | EXO1 | BEGI | SLOC | removed | 13:00
2024-01-25 | 13:30 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 13:30
2024-01-25 | 13:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 13:15
2024-01-25 | 14:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 14:00
2024-02-06 | 8:45 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:45
2024-02-06 | 9:30 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:30
2024-02-06 | 9:15 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:15
2024-02-06 | 10:15 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 10:15
2024-02-06 | 10:15 | 23F105009 | EXO1 | BEGI | SLOC | removed | 10:15
2024-02-06 | 11:00 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 11:00
2024-02-06 | 10:45 | 23G103231 | EXO1 | BEGI | SLOW | removed | 10:45
2024-02-06 | 14:45 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 14:45
2024-02-20 | 11:30 | 23G103229 | EXO1 | BEGI | VDOW | removed | 11:30
2024-02-20 | 12:15 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 12:15
2024-02-20 | 12:00 | 23G103230 | EXO1 | BEGI | VDOS | removed | 12:00
2024-02-20 | 12:45 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 12:45
2024-02-20 | 12:45 | 23F105009 | EXO1 | BEGI | SLOC | removed | 12:45
2024-02-20 | 13:30 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 1:30
2024-02-20 | 13:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 1:15
2024-02-20 | 13:45 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 1:45
2024-03-05 | 12:45 | 23G103229 | EXO1 | BEGI | VDOW | removed | 12:45
2024-03-05 | 13:45 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 13:45
2024-03-05 | 13:30 | 23G103230 | EXO1 | BEGI | VDOS | removed | 13:30
2024-03-05 | 14:00 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 14:00
2024-03-05 | 14:00 | 23F105009 | EXO1 | BEGI | SLOC | removed | 14:00
2024-03-05 | 14:45 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 14:45
2024-03-05 | 14:30 | 23G103231 | EXO1 | BEGI | SLOW | removed | 14:30
2024-03-05 | 15:15 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 15:15
2024-03-19 | 12:45 | 23G103229 | EXO1 | BEGI | VDOW | removed | 12:45
2024-03-19 | 13:30 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 13:30
2024-03-19 | 13:15 | 23G103230 | EXO1 | BEGI | VDOS | removed | 13:15
2024-03-19 | 13:45 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 13:45
2024-03-19 | 13:45 | 23F105009 | EXO1 | BEGI | SLOC | removed | 13:45
2024-03-19 | 14:30 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 14:30
2024-03-19 | 14:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 14:15
2024-03-19 | 15:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 15:00
2024-04-02 | 8:30 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:30
2024-04-02 | 9:15 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:15
2024-04-02 | 9:00 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:00
2024-04-02 | 10:00 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 10:00
2024-04-02 | 9:45 | 23F105009 | EXO1 | BEGI | SLOC | removed | 9:45
2024-04-02 | 10:15 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 10:15
2024-04-02 | 10:00 | 23G103231 | EXO1 | BEGI | SLOW | removed | 10:00
2024-04-02 | 11:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 11:00
2024-04-16 | 13:00 | 23G103229 | EXO1 | BEGI | VDOW | removed | 13:00
2024-04-16 | 14:00 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 14:00
2024-04-16 | 13:45 | 23G103230 | EXO1 | BEGI | VDOS | removed | 13:45
2024-04-16 | 14:45 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 14:45
2024-04-16 | 14:30 | 23F105009 | EXO1 | BEGI | SLOC | removed | 14:30
2024-04-16 | 15:45 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 15:45
2024-04-16 | 15:30 | 23G103231 | EXO1 | BEGI | SLOW | removed | 15:30
2024-04-16 | 16:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 16:30 | estimate
2024-04-17 | 18:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 18:15
2024-04-19 | 17:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 17:30
2024-04-22 |  | 2189767 | Solinist Levelogger 5 LT - Barologger | USF |  | extra
2024-04-22 |  | 2189740 | Solinist Levelogger 5 LT - Barologger | USF |  | extra
2024-04-22 |  | 2189762 | Solinist Levelogger 5 LT - Barologger | USF |  | extra
2024-04-22 |  | 2186481 | Solinist Levelogger 5 Junior - Water Level | USF |  | extra
2024-04-22 |  | 2186466 | Solinist Levelogger 5 Junior - Water Level | USF |  | extra
2024-04-22 |  | 2186465 | Solinist Levelogger 5 Junior - Water Level | USF |  | extra
2024-04-22 |  | 2186474 | Solinist Levelogger 5 Junior - Water Level | USF |  | extra
2024-04-22 |  | 2186472 | Solinist Levelogger 5 Junior - Water Level | USF |  | extra
2024-04-22 |  | 2186467 | Solinist Levelogger 5 Junior - Water Level | USF |  | extra
2024-04-22 |  | 2186469 | Solinist Levelogger 5 Junior - Water Level | USF |  | extra
2024-04-22 |  | 2186482 | Solinist Levelogger 5 Junior - Water Level | USF |  | extra
2024-04-22 |  | 2186476 | Solinist Levelogger 5 Junior - Water Level | USF |  | extra
2024-04-22 |  | 2186477 | Solinist Levelogger 5 Junior - Water Level | USF |  | extra
2024-04-23 |  | 21839228 | HOBO U20L-04 | USF | USF6 | removed
2024-04-23 |  | 21839227 | HOBO U20L-04 | USF | USF7 | removed
2024-04-23 |  | 21821229 | HOBO U20L-04 | USF | USF_AIR1 | removed
2024-04-23 |  | 2186481 | Solinist Levelogger 5 Junior - Water Level | USF | USF20 | deployed
2024-04-23 |  | 2186466 | Solinist Levelogger 5 Junior - Water Level | USF | USF7 | deployed
2024-04-23 |  | 2189740 | Solinist Levelogger 5 Junior - Water Level | USF | USF_AIR1 | deployed
2024-04-30 | 9:00 | 23G103229 | EXO1 | BEGI | VDOW | removed | 9:00
2024-04-30 | 9:45 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:45
2024-04-30 | 9:30 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:30
2024-04-30 | 10:15 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 10:15
2024-04-30 | 10:30 | 23F105009 | EXO1 | BEGI | SLOC | removed | 10:30
2024-04-30 | 11:15 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 11:15
2024-04-30 | 11:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 11:15
2024-04-30 | 11:45 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 11:45
2024-05-08 |  | 2186482 | Solinist Levelogger 5 Junior - Water Level | USF | USF3 | deployed
2024-05-08 |  | 2186477 | Solinist Levelogger 5 Junior - Water Level | USF | USF5 | deployed
2024-05-24 |  | need verification | Solinist Levelogger 5 Junior - Water Level | USF | USF4 | deployed
2024-05-01 |  | 1094117 | Solinist Levelogger 5 LTC - Conductivity |  |  | extra
2024-05-01 |  | 1094126 | Solinist Levelogger 5 LTC - Conductivity |  |  | extra
2024-05-01 |  | 1094111 | Solinist Levelogger 5 LTC - Conductivity |  |  | extra
2024-05-28 | 11:45 | 23G103229 | EXO1 | BEGI | VDOW | removed | 11:45
2024-05-28 | 12:45 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 12:45
2024-05-28 | 12:00 | 23G103230 | EXO1 | BEGI | VDOS | removed | 12:00
2024-05-28 | 13:45 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 13:45
2024-05-28 | 14:45 | 23F105009 | EXO1 | BEGI | SLOC | removed | 14:45
2024-05-28 | 15:45 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 15:45
2024-05-28 | 15:30 | 23G103231 | EXO1 | BEGI | SLOW | removed | 15:30
2024-05-28 | 16:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 16:30
2024-05-29 |  | 1094117 | Solinist Levelogger 5 LTC - Conductivity |  |  | renamed | previously "6", now "Azula"
2024-05-29 |  | 1094126 | Solinist Levelogger 5 LTC - Conductivity |  |  | renamed | previously "2", now "Spencer"
2024-05-29 |  | 1094111 | Solinist Levelogger 5 LTC - Conductivity |  |  | renamed | previously "4", now "Fiona"
2024-05-29 |  | 1093224 | Solinist Levelogger 5 LTC - Conductivity |  |  | renamed | previously "3", now "Thermopolis"
2024-05-29 |  | 1093060 | Solinist Levelogger 5 LTC - Conductivity |  |  | renamed | previously "1", now "Kelly"
2024-05-29 |  | 1092897 | Solinist Levelogger 5 LTC - Conductivity |  |  | renamed | previously "5", now "Toadstool"
2024-06-10 | 9:30 | 23G103229 | EXO1 | BEGI | VDOW | removed | 9:30
2024-06-10 | 10:15 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 10:15
2024-06-10 | 10:00 | 23G103230 | EXO1 | BEGI | VDOS | removed | 10:00
2024-06-10 | 10:45 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 10:45
2024-06-10 | 10:45 | 23F105009 | EXO1 | BEGI | SLOC | removed | 10:45
2024-06-10 | 11:15 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 11:15
2024-06-10 | 11:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 11:15
2024-06-10 | 11:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 11:30
2024-06-11 | 13:00 | 23G103229 | EXO1 | BEGI | VDOW | removed | 13:00
2024-06-11 | 13:30 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 13:30
2024-06-11 | 13:15 | 23G103230 | EXO1 | BEGI | VDOS | removed | 13:15
2024-06-11 | 13:30 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 13:30
2024-06-11 | 13:30 | 23F105009 | EXO1 | BEGI | SLOC | removed | 13:30
2024-06-11 | 13:45 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 13:45
2024-06-11 | 13:30 | 23G103231 | EXO1 | BEGI | SLOW | removed | 13:30
2024-06-11 | 14:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 14:00
2024-06-24 | 10:00 | 23G103229 | EXO1 | BEGI | VDOW | removed | 10:00
2024-06-24 | 10:45 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 10:45
2024-06-24 | 10:30 | 23G103230 | EXO1 | BEGI | VDOS | removed | 10:30
2024-06-24 | 11:15 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 11:15
2024-06-24 | 11:15 | 23F105009 | EXO1 | BEGI | SLOC | removed | 11:15
2024-06-24 | 12:00 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 12:00
2024-06-24 | 11:45 | 23G103231 | EXO1 | BEGI | SLOW | removed | 11:45
2024-06-24 | 12:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 12:30
2024-06-28 | 14:00 | 23F105009 | EXO1 | BEGI | SLOC | removed | fDOM sensor had been faulting, so sonde was taken to lab to assess. In lab, all sensor ports were dried out, cleaned, greased, and replaced; DO perc sat and depth sensors were calibrated
2024-06-28 | 13:45 | 23G103231 | EXO1 | BEGI | SLOW | removed
2024-06-28 | 14:15 | 23G103231 | EXO1 | BEGI | SLOW | deployed
2024-07-02 | 12:30 | 23G103231 | EXO1 | BEGI | SLOW | removed | DO perc sat and depth sensor calibrated in field
2024-07-02 | 13:45 | 23G103231 | EXO1 | BEGI | SLOW | deployed
2024-07-02 | 13:45 | 23F105009 | EXO1 | BEGI | SLOC | deployed | redeployed as everything seemed OK in lab
2024-07-02 | 12:30 | 21821227 | HOBO U20L-04 | BEGI | SLOW | removed | all data downloaded and cleared from sensor memory. Looks like memory filled up in June!
2024-07-02 | 13:40 | 21821227 | HOBO U20L-04 | BEGI | SLOW | deployed
2024-07-02 | 12:30 | 21821230 | HOBO U20L-04 | BEGI | SLOC | removed | all data downloaded and cleared from sensor memory. Looks like memory filled up in June!
2024-07-02 | 13:40 | 21821230 | HOBO U20L-04 | BEGI | SLOC | deployed
2024-07-09 | 11:00 | 23G103229 | EXO1 | BEGI | VDOW | removed
2024-07-09 | 12:15 | 23G103229 | EXO1 | BEGI | VDOW | deployed
2024-07-09 | 11:45 | 23G103230 | EXO1 | BEGI | VDOS | removed
2024-07-09 | 13:00 | 23G103230 | EXO1 | BEGI | VDOS | deployed
2024-07-09 | 13:15 | 23F105009 | EXO1 | BEGI | SLOC | removed
2024-07-09 | 13:45 | 23F105009 | EXO1 | BEGI | SLOC | deployed
2024-07-09 | 13:30 | 23G103231 | EXO1 | BEGI | SLOW | removed
2024-07-09 | 14:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed
2024-07-22 | 9:15 | 23G103229 | EXO1 | BEGI | VDOW | removed
2024-07-22 | 10:00 | 23G103229 | EXO1 | BEGI | VDOW | deployed
2024-07-22 | 10:00 | 23G103230 | EXO1 | BEGI | VDOS | removed
2024-07-22 | 10:30 | 23G103230 | EXO1 | BEGI | VDOS | deployed
2024-07-22 | 10:30 | 23F105009 | EXO1 | BEGI | SLOC | removed
2024-07-22 | 11:15 | 23F105009 | EXO1 | BEGI | SLOC | deployed
2024-07-22 | 11:00 | 23G103231 | EXO1 | BEGI | SLOW | removed
2024-07-22 | 11:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed
2024-07-08 | 8:31 | buttercup | s::can | USF | USF12
2024-07-08 | 14:05 | blossom | s::can | USF | USF20
2024-06-24 | 9:06 | buttercup | s::can | USF | USF12
2024-06-24 |  | blossom | s::can | USF | USF20
2024-05-07 |  | buttercup | s::can | USF | USF12
2024-05-08 |  | blossom | s::can | USF | USF20
2024-07-26 |  | bubbles | s::can | USF | USF21
2024-07-30 |  | buttercup | s::can | USF | USF12
2024-07-30 |  | blossom | s::can | USF | USF20
2024-08-05 | 9:00 | 23G103229 | EXO1 | BEGI | VDOW | removed
2024-08-05 | 9:45 | 23G103229 | EXO1 | BEGI | VDOW | deployed
2024-08-05 | 9:30 | 23G103230 | EXO1 | BEGI | VDOS | removed
2024-08-05 | 10:00 | 23G103230 | EXO1 | BEGI | VDOS | deployed
2024-08-05 | 10:00 | 23F105009 | EXO1 | BEGI | SLOC | removed
2024-08-05 | 10:45 | 23F105009 | EXO1 | BEGI | SLOC | deployed
2024-08-05 | 10:30 | 23G103231 | EXO1 | BEGI | SLOW | removed
2024-08-05 | 11:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed
2024-08-21 | 9:00 | 23G103229 | EXO1 | BEGI | VDOW | removed
2024-08-21 | 9:45 | 23G103229 | EXO1 | BEGI | VDOW | deployed
2024-08-21 | 9:45 | 23G103230 | EXO1 | BEGI | VDOS | removed
2024-08-21 | 10:30 | 23G103230 | EXO1 | BEGI | VDOS | deployed
2024-08-21 | 10:30 | 23F105009 | EXO1 | BEGI | SLOC | removed
2024-08-21 | 11:45 | 23F105009 | EXO1 | BEGI | SLOC | deployed
2024-08-21 | 11:30 | 23G103231 | EXO1 | BEGI | SLOW | removed
2024-08-21 | 12:15 | 23G103231 | EXO1 | BEGI | SLOW | deployed
2024-09-04 | 10:45 | 23G103229 | EXO1 | BEGI | VDOW | removed
2024-09-04 | 11:45 | 23G103230 | EXO1 | BEGI | VDOS | removed
2024-09-04 | 12:30 | 23F105009 | EXO1 | BEGI | SLOC | removed
2024-09-04 | 13:15 | 23G103231 | EXO1 | BEGI | SLOW | removed

## drop_down_list
model | project | location | observation
HOBO U20L-04 | BEGI | VDOW | deployed
Solinist Levelogger 5 LTC - Conductivity | USF | VDOS | removed
Solinist Levelogger 5 Junior - Water Level |  | SLOC | battery replaced
Solinist Levelogger 5 LT - Barologger |  | SLOW | note
EXO1 |  | BEGI_AIR | renamed
|  | USF3 | moved
USF4
|  | USF5 | extra
USF6
USF7
USF13
USF14
USF19
USF20
USF21
USFX
USF_AIR1
USF_AIR2